| Project name : |  |  |
| --- | --- | --- |
| Project No.: |  | Tag No.: |
| Document No.: | REV. : | Date : |

| S. No. | Check Items | Check |  | Remarks |
| --- | --- | --- | --- | --- |
|  |  | YES | NO |  |
|  | Check Border /Title block (Signatory initials, Revision Phrases, date in title block), Stamp (review/approval/construction), North direction block matches with the project drafting specification and is consistent with the deliverables from other discipline. |  |  |  |
|  | Check changes wrt old revision of drawings and client comments are indicated with proper cloud mark, & Rev. mark. |  |  |  |
|  | Check text properties are followed as per project drafting philosophy / CAD manual. |  |  |  |
|  | Check drum schedule format as per Project / Client Standards / approval by lead engineer. |  |  |  |
|  | Check legends, abbreviations and notes are defined properly. |  |  |  |
|  | Check notes shown on document are relevant and appropriately referenced. |  |  |  |
|  | Check no abbreviations are used in Drg. Title. Abbreviations if any are included in the legend part of the document. |  |  |  |
|  | Ensure Document Title, Rev matches with TDR. Soft file name / path as per project specific requirement are mentioned in document. Approval category to be ensured. |  |  |  |
|  | Ensure all cables of the cable schedule are included in the drum schedule. |  |  |  |
|  | Ensure total length and type of cable in the drum schedule with respect to the cable schedule. |  |  |  |
|  | Ensure spare length in each drum indicated. |  |  |  |
|  | Ensure the coverage of cable drums for the package vendor requirement not covered by the vendor/others. |  |  |  |
|  | Ensure all sheets are available in the set of document before deliver. |  |  |  |
|  | The reference drawings / documents such as – Cable block diagram, Cable schedule etc. |  |  |  |
|  | Check maximum cable lengths in the drums are within the limit as specified. |  |  |  |
|  | Check if allocation of cables to drums to be based on geographical location of sites. If the work scope covers many locations then this is to be reviewed while assigning the drums. |  |  |  |

Notes:

- This checklist is no way comprehensive. Based on specific project conditions/equipment some points as deemed necessary can be added / deleted. Addition / deletion of points, if any, needs to be taken up in consultation with Lead Engineer / Technical Specialist / Discipline Manager.

- If     is not filled against any item, please indicate N/A or else provide remarks.

- After release of the respective documents, the completed check list shall be retained by Discipline Engineer for future reference and for technical / quality audit.

- Check points shall be filled by job engineer and checked/approved by Lead/Tech. Specialist.

- The final approved Checklist shall be attached with the respective document if required.

| REV. | SIGN | DATE | SIGN | DATE | REMARKS |
| --- | --- | --- | --- | --- | --- |
|  | JOB ENGINEER |  | LEAD ENGINEER |  |  |