| Project name : |  |  |
| --- | --- | --- |
| Project No.: |  | Tag No.: |
| Document No.: | REV. : | Date : |

| S. No. | Check Items | Check |  | Remarks |
| --- | --- | --- | --- | --- |
|  |  | YES | NO |  |
|  | Check Border /Title block (Signatory initials, Revision Phrases, date in title block), Stamp (review/approval/construction), matches with the project drafting specification and is consistent with the deliverables from other discipline. |  |  |  |
|  | Check changes wrt old revision of drawings and client comments are indicated with proper cloud mark, & Rev. mark. |  |  |  |
|  | Check Instrument Index format as per Project / Client Standards / approval by lead engineer. |  |  |  |
|  | Ensure document title, revision matches with TDR. Soft file name / Path as per project specification requirement are mentioned in document. |  |  |  |
|  | Check legends, abbreviations and notes are defined properly. |  |  |  |
|  | Check notes shown on document are relevant and appropriately referenced. |  |  |  |
|  | Check no abbreviations are used in document title. Abbreviations if any are included in the legend part of the document. |  |  |  |
|  | Ensure Document Title, Rev matches with TDR. Soft file name / path as per project specific requirement are mentioned in document. Approval category to be ensured. |  |  |  |
|  | Ensure that the tags which may not be part of the P&IDs such as those belonging to F&G system, building fire alarm system, corrosion monitoring system, electrical system, AMADAS, etc. are all captured in the Instrument Index. |  |  |  |
|  | Ensure correctness of Instrument type, service, etc. |  |  |  |
|  | Ensure the ranges units of measurement indicated are consistent with the data sheets. |  |  |  |
|  | Ensure all the required fields i.e. Data sheet, loop, hook-up, model no., Manufacturer, etc. are appropriately referenced. |  |  |  |
|  | Check input obtained from the client for report generation are included or suggest the report generation envisaged as understood from the RFQ in the Instrument Index. |  |  |  |
|  | Ensure Instruments obtained from the required vendors of systems and package units are included in Instrument Index. |  |  |  |
|  | Check notes shown on document are relevant. |  |  |  |
|  | Check holds if any are indicated on document. |  |  |  |
|  | Check all tags are covered with respect to P&ID’s. (Petrofac generated and Vendor package P&ID’s). |  |  |  |
|  | Consistency of service description and abbreviations. |  |  |  |
|  | Check all sheets are available in the set of documents before deliver. |  |  |  |

Notes:

- This checklist is no way comprehensive. Based on specific project conditions/equipment some points as deemed necessary can be added / deleted. Addition / deletion of points, if any, needs to be taken up in consultation with Lead Engineer / Technical Specialist / Discipline Manager.

- If     is not filled against any item, please indicate N/A or else provide remarks.

- After release of the respective documents, the completed check list shall be retained by Discipline Engineer for future reference and for technical / quality audit.

- Check points shall be filled by job engineer and checked/approved by Lead/Tech. Specialist.

- The final approved Checklist shall be attached with the respective document if required.

| REV. | SIGN | DATE | SIGN | DATE | REMARKS |
| --- | --- | --- | --- | --- | --- |
|  | JOB ENGINEER |  | LEAD ENGINEER |  |  |