| Project name : |  |  |
| --- | --- | --- |
| Project No.: |  | Tag No.: |
| Document No.: | REV. : | Date : |

| S. No. | Check Items | Check |  | Remarks |
| --- | --- | --- | --- | --- |
|  |  | YES | NO |  |
|  | Check border /Title block (Signatory initials, Revision Phrases, date in title block), Stamp (review/approval/construction), with the project drafting specification and is consistent with the deliverables from other discipline. |  |  |  |
|  | Ensure drawing Title, Rev matches with TDR. Soft file name/path as per project specific requirement is mentioned in drawing. Approval category to be ensured. |  |  |  |
|  | Check changes wrt old revision of Drawing and clients comments are indicated with proper cloud mark. |  |  |  |
|  | Ensure check line, text properties are followed as per project drafting philosophy / cad manual and is mentioned in the drawing. |  |  |  |
|  | Ensure all symbols are as per Approved legend sheet. All legends as per project / client standards. |  |  |  |
|  | Check notes shown on drawing are relevant. |  |  |  |
|  | Check holds if any are indicated on drawing with proper cloud mark. |  |  |  |
|  | Ensure that no abbreviations are used in Drg. Title. Abbreviations if any are included in the legend part of the drawing. |  |  |  |
|  | Ensure that the earthing scheme along with the earth conductor material & size have also been approved by electrical-group. |  |  |  |
|  | Check that the earthing drawing cover the following items as a minimum :- (a) Cabinets, Local panels, Jb’s. (b) Field Transmitters, solenoid valves. (c) Supports for installing field instruments. (d) Mov’s. (e) Magnetic flow meters. (f) Transmitters of in line flow instruments. (g) Analyzer shelters. (h) Illuminated level gauges. (i) Instrument pdb’s. |  |  |  |
|  | Check any requirement for protection against lightning surge. This requirement may be within electrical group specifications. |  |  |  |
|  | IS and NON-IS earth segregation. |  |  |  |
|  | Drawing for IDC by electrical group. |  |  |  |
|  | Check cross reference of all the applicable relevant drawing is indicated in reference Drgs. List/Notes. |  |  |  |
|  | Check VIEW TITLE of the Details shown on the drawing. |  |  |  |
|  | Check all multiple sheets are available in the set of drawing before delivery. |  |  |  |

Notes:

- This checklist is no way comprehensive. Based on specific project conditions/equipment some points as deemed necessary can be added / deleted. Addition / deletion of points, if any, needs to be taken up in consultation with Lead Engineer / Technical Specialist / Discipline Manager.

- If     is not filled against any item, please indicate N/A or else provide remarks.

- After release of the respective documents, the completed check list shall be retained by Discipline Engineer for future reference and for technical / quality audit.

- Check points shall be filled by job engineer and checked/approved by Lead/Tech. Specialist.

- The final approved Checklist shall be attached with the respective document if required.

| REV. | SIGN | DATE | SIGN | DATE | REMARKS |
| --- | --- | --- | --- | --- | --- |
|  | JOB ENGINEER |  | LEAD ENGINEER |  |  |