| Project name : |  |  |
| --- | --- | --- |
| Project No.: |  | Tag No.: |
| Document No.: | REV. : | Date : |

| S. No. | Check Items | Check |  | Remarks |
| --- | --- | --- | --- | --- |
|  |  | YES | NO |  |
|  | Has 100% checking been carried out with respect to the equipment layout for the following: a) Locating dimensions for all equipment and Monorail. b) Details of supports such as pedestals c) Location and details of Anchor bolts d) Details of floor cut outs and Pockets and insert plates. |  |  |  |
|  | Whether the secondary beams are located properly as per the equipment support arrangement and to send details of cutouts? |  |  |  |
|  | Whether the secondary beam sizes conform to the design? |  |  |  |
|  | Are the levels of different areas of the floor indicated correctly? |  |  |  |
|  | Are sufficient number of sections and enlarged details provided? |  |  |  |
|  | Are the sizes of all members such as beams pedestals etc. clearly indicated? |  |  |  |
|  | Is the drawing prepared as per the guidelines for drafting and guidelines for the GA drawing? |  |  |  |
|  | Are All Openings/Levels/insert plate/corner angle be provided as per mechanical/electrical input drawing? |  |  |  |
|  | Are Drawing is prepared in proper Scale? |  |  |  |

Notes:

- This checklist is no way comprehensive. Based on specific project conditions/equipment some points as deemed necessary can be added / deleted. Addition / deletion of points, if any, needs to be taken up in consultation with Lead Engineer / Technical Specialist / Discipline Manager.

- If     is not filled against any item, please indicate N/A or else provide remarks.

- After release of the respective documents, the completed check list shall be retained by Discipline Engineer for future reference and for technical / quality audit.

- Check points shall be filled by job engineer and checked/approved by Lead/Tech. Specialist.

- The final approved Checklist shall be attached with the respective document if required.

| REV. | SIGN | DATE | SIGN | DATE | REMARKS |
| --- | --- | --- | --- | --- | --- |
|  | JOB ENGINEER |  | LEAD ENGINEER |  |  |