| Project name : |  |  |
| --- | --- | --- |
| Project No.: |  | Tag No.: |
| Document No.: | REV. : | Date : |

| S. No. | Check Items | Check |  | Remarks |
| --- | --- | --- | --- | --- |
|  |  | YES | NO |  |
|  | Is the drawing checked for correctness for following aspects? (a) Overall dimensions (b) Reference coordinates (c) Arrangement of external & internal walls (d) Partitions |  |  |  |
|  | Are the types, location and sizes of doors, windows, rolling shutters and Monorail etc. provided as per the functional and stability requirements? |  |  |  |
|  | Are the locations and arrangements of toilets and their internals such as wash basins, urinals and water closets chosen properly so as to facilitate proper drainage of waste and waste water? |  |  |  |
|  | Has sufficient lowering of floors provided for fixing water closets and also to accommodate floor drains? |  |  |  |
|  | Is sufficient ventilation facilities such as ventilators, exhaust fans etc. provided? |  |  |  |
|  | Is the false flooring, false ceiling requirements (if functionally required) properly indicated in relevant areas? |  |  |  |
|  | Is proper roof drainage provided by means of sufficient roof slope and drain pipes? |  |  |  |
|  | Is any plinth protection around the building / structure envisaged has been shown? |  |  |  |
|  | Are the staircase provided at proper locations and the details indicated? |  |  |  |
|  | Are the head room requirement properly taken care of at various locations? |  |  |  |
|  | Is the arrangement of staircase checked for the following? (a) Tread and riser as per acceptable values? (b) Head room requirements? |  |  |  |
|  | Whether all reference documents to the drawings have been indicated in the drawing? |  |  |  |
|  | Whether the location of the relevant structure have been shaded properly in the key plan? |  |  |  |
|  | Has the drawing been numbered as per the drawing index with the respective revision marking? |  |  |  |
|  | Whether all the latest revisions have been marked with clouds? |  |  |  |

Notes:

- This checklist is no way comprehensive. Based on specific project conditions/equipment some points as deemed necessary can be added / deleted. Addition / deletion of points, if any, needs to be taken up in consultation with Lead Engineer / Technical Specialist / Discipline Manager.

- If     is not filled against any item, please indicate N/A or else provide remarks.

- After release of the respective documents, the completed check list shall be retained by Discipline Engineer for future reference and for technical / quality audit.

- Check points shall be filled by job engineer and checked/approved by Lead/Tech. Specialist.

- The final approved Checklist shall be attached with the respective document if required.

| REV. | SIGN | DATE | SIGN | DATE | REMARKS |
| --- | --- | --- | --- | --- | --- |
|  | JOB ENGINEER |  | LEAD ENGINEER |  |  |