| Project name : |  |  |
| --- | --- | --- |
| Project No.: |  | Tag No.: |
| Document No.: | REV. : | Date : |

| S. No. | Check Items | Check |  | Remarks |
| --- | --- | --- | --- | --- |
|  |  | YES | NO |  |
|  | Are all the allowable values of basic parameters considered as per the design basis? |  |  |  |
|  | Are all the critical load cases and their possible realistic combinations considered for design? |  |  |  |
|  | Has the design been carried out using the correct and acceptable procedure? |  |  |  |
|  | Whether the numerical computations have been correctly carried out? |  |  |  |
|  | Whether all the relevant codal provisions with their correct interpretations considered and adopted for design? |  |  |  |
|  | Whether all the design parameters such as stresses, deflections etc are within the prescribed allowable limits? |  |  |  |
|  | Has the design been carried out considering the detailing requirements such as practicability of connections, reinforcing bar arrangements etc.,? |  |  |  |
|  | Have all the pages been numbered correctly along with document number and revisions? |  |  |  |
|  | Have at the end all beam/column/foundation analysis result and design are tabulated as a summary sheet? |  |  |  |
|  | Have at the end all beam/column/foundation Deflection check/crack width calculation are tabulated as a summary sheet? |  |  |  |

Notes:

- This checklist is no way comprehensive. Based on specific project conditions/equipment some points as deemed necessary can be added / deleted. Addition / deletion of points, if any, needs to be taken up in consultation with Lead Engineer / Technical Specialist / Discipline Manager.

- If     is not filled against any item, please indicate N/A or else provide remarks.

- After release of the respective documents, the completed check list shall be retained by Discipline Engineer for future reference and for technical / quality audit.

- Check points shall be filled by job engineer and checked/approved by Lead/Tech. Specialist.

- The final approved Checklist shall be attached with the respective document if required.

| REV. | SIGN | DATE | SIGN | DATE | REMARKS |
| --- | --- | --- | --- | --- | --- |
|  | JOB ENGINEER |  | LEAD ENGINEER |  |  |