| Project name : |  |  |
| --- | --- | --- |
| Project No.: |  | Tag No.: |
| Document No.: | REV. : | Date : |

| S. No. | Check Items | Check |  | Remarks |
| --- | --- | --- | --- | --- |
|  |  | YES | NO |  |
|  | This document is prepared based on project scope of work and project specification. |  |  |  |
|  | The following minimum topics to be covered with specific requirement of the project with respect to the project specification: |  |  |  |
|  | Introduction of the project |  |  |  |
|  | Abbreviations |  |  |  |
|  | Definitions |  |  |  |
|  | Environment Condition |  |  |  |
|  | Design Life |  |  |  |
|  | Purpose |  |  |  |
|  | Order of Precedence |  |  |  |
|  | Applicable Standards |  |  |  |
|  | System Voltages and Allowable Voltage Drops |  |  |  |
|  | Classification of Hazardous area |  |  |  |
|  | Ingress Protection |  |  |  |
|  | Classification of Loads |  |  |  |
|  | Load Assessment |  |  |  |
|  | Power System Studies |  |  |  |
|  | Transformers |  |  |  |
|  | Neutral Grounding Resistor |  |  |  |
|  | LV / HV Switchgears |  |  |  |
|  | Variable Frequency Drive (vfd) |  |  |  |
|  | Electric Motors |  |  |  |
|  | UPS & DC System |  |  |  |
|  | Batteries |  |  |  |
|  | AC /DC Distribution System |  |  |  |
|  | Cables (HV / LV / Controls) |  |  |  |
|  | Lighting System |  |  |  |
|  | Substation building / Modular Substation /Containerized Substation |  |  |  |
|  | Grounding & Lightning Protection |  |  |  |
|  | Cathodic Protection |  |  |  |
|  | Electrical Heat Tracing (EHT) System |  |  |  |
|  | Cable trays and accessories |  |  |  |
|  | Cable Glands & Lugs |  |  |  |
|  | Junction Box |  |  |  |
|  | Reference Documents |  |  |  |

Notes:

- This checklist is no way comprehensive. Based on specific project conditions/equipment some points as deemed necessary can be added / deleted. Addition / deletion of points, if any, needs to be taken up in consultation with Lead Engineer / Technical Specialist / Discipline Manager.

- If     is not filled against any item, please indicate N/A or else provide remarks.

- After release of the respective documents, the completed check list shall be retained by Discipline Engineer for future reference and for technical / quality audit.

- Check points shall be filled by job engineer and checked/approved by Lead/Tech. Specialist.

- The final approved Checklist shall be attached with the respective document if required.

| REV. | SIGN | DATE | SIGN | DATE | REMARKS |
| --- | --- | --- | --- | --- | --- |
|  | JOB ENGINEER |  | LEAD ENGINEER |  |  |