| Project name : |  |  |
| --- | --- | --- |
| Project No.: |  | Tag No.: |
| Document No.: | REV. : | Date : |

| S. No. | Check Items | Check |  | Remarks |
| --- | --- | --- | --- | --- |
|  |  | YES | NO |  |
|  | The kW rating of the motor is to considered from the latest load list. |  |  |  |
|  | The load analysis is done including the Electrical loads, Mechanical Package& instruments load details. |  |  |  |
|  | The power factor and efficiency of the motor has to be cross checked with standard motor catalogue. Load factor should be considered and diversity factor also should be considered based on the operation of the equipment (in hours) based on the mechanical inputs. |  |  |  |
|  | Design margin and loading of transformer has to be considered as per the contract. Nearest available standard rating of the transformer shall be considered based on the standards. |  |  |  |
|  | The impedance of the transformer has to be considered as per the Standard mentioned in the Contract Job specification or applicable Indian/International standard (Based on the Project requirement the standard shall be followed).The transformer selection for restricting the fault level of the bus accordingly the transformer impedance to be consider. |  |  |  |
|  | All tentative / hold points and client’s comments to be checked during revision. |  |  |  |
|  | All revisions points shall be clouded with revision marked. |  |  |  |
|  | Document Number and revisions shall be as per the document schedule |  |  |  |
|  | Title block shall be as per project requirement. |  |  |  |

Notes:

- This checklist is no way comprehensive. Based on specific project conditions/equipment some points as deemed necessary can be added / deleted. Addition / deletion of points, if any, needs to be taken up in consultation with Lead Engineer / Technical Specialist / Discipline Manager.

- If     is not filled against any item, please indicate N/A or else provide remarks.

- After release of the respective documents, the completed check list shall be retained by Discipline Engineer for future reference and for technical / quality audit.

- Check points shall be filled by job engineer and checked/approved by Lead/Tech. Specialist.

- The final approved Checklist shall be attached with the respective document if required.

| REV. | SIGN | DATE | SIGN | DATE | REMARKS |
| --- | --- | --- | --- | --- | --- |
|  | JOB ENGINEER |  | LEAD ENGINEER |  |  |