| Project name : |  |  |
| --- | --- | --- |
| Project No.: |  | Tag No.: |
| Document No.: | REV. : | Date : |

| S. No. | Check Items | Check |  | Remarks |
| --- | --- | --- | --- | --- |
|  |  | YES | NO |  |
|  | The Feeders current rating are to be considered from the latest load list. |  |  |  |
|  | The load analysis is done including the Electrical loads, Mechanical Package& instruments load details. |  |  |  |
|  | "Type of cable and conductor material consider PVC / XLPE / FRLS …. Etc." |  |  |  |
|  | Cable resistance and reactance values to be taken from the Approved cable vendor (as per the contract approved vendor) catalogue. Also the derating factors to be considered based on the various parameters like ambient temperature, soil temperature and method of installation (In ground / Air/Duct) of cables etc. |  |  |  |
|  | Acceptable/ Permissible Voltage drop as per the project requirement and source of supply. |  |  |  |
|  | Short circuit current and duration of time. |  |  |  |
|  | Nearest available standard rating of the LV cable sizing shall be considered from the approved vendor catalogue |  |  |  |
|  | All tentative / hold points and client’s comments to be checked during revision. |  |  |  |
|  | All revisions points shall be clouded with revision marked. |  |  |  |
|  | Document Number and revisions shall be as per the document schedule in wrench. |  |  |  |
|  | Title block shall be as per project requirement. |  |  |  |

Notes:

- This checklist is no way comprehensive. Based on specific project conditions/equipment some points as deemed necessary can be added / deleted. Addition / deletion of points, if any, needs to be taken up in consultation with Lead Engineer / Technical Specialist / Discipline Manager.

- If     is not filled against any item, please indicate N/A or else provide remarks.

- After release of the respective documents, the completed check list shall be retained by Discipline Engineer for future reference and for technical / quality audit.

- Check points shall be filled by job engineer and checked/approved by Lead/Tech. Specialist.

- The final approved Checklist shall be attached with the respective document if required.

| REV. | SIGN | DATE | SIGN | DATE | REMARKS |
| --- | --- | --- | --- | --- | --- |
|  | JOB ENGINEER |  | LEAD ENGINEER |  |  |