| Project name : |  |  |
| --- | --- | --- |
| Project No.: |  | Tag No.: |
| Document No.: | REV. : | Date : |

| S. No. | Check Items | Check |  | Remarks |
| --- | --- | --- | --- | --- |
|  |  | YES | NO |  |
|  | Transformers HT & LT panels other electrical equipment dimensions to be checked from the latest equipment’s General Arrangement. |  |  |  |
|  | Panel clearances and equipment’s mounting arrangements to be checked as per Standards, contract requirements. |  |  |  |
|  | The instruments Panel dimension details and space requirement is considered. |  |  |  |
|  | In case the equipment size is not finalized a note stating, “The equipment’s sizes are tentative; subject to marginal change based on finalized vendor data” is mentioned. |  |  |  |
|  | All “HOLD” points and client’s comments are checked during revision. |  |  |  |
|  | All revisions points are clouded with revision marked. |  |  |  |
|  | Drawing numbers, Description, Approval Category and revisions shall be as per the drawing / document schedule in wrench. |  |  |  |
|  | Requirement of Ventilation System, Air Conditioning System, Lighting Distribution System, Power Distribution System and Air-Exhaust System have considered? |  |  |  |
|  | Are the location of equipment & their identification, correct? |  |  |  |
|  | Is it compliance with project specifications for equipment and installation criteria? |  |  |  |
|  | Is the clearance for access, maintenance & escape routes around the equipment? |  |  |  |
|  | Have the position & size of exists and maintain doors for bring/ taking out of equipment been checked? |  |  |  |
|  | Is there space for future equipment expansion? |  |  |  |
|  | Have the cable trenches/ racks/ cellar size, location of supports and entry / exit been checked? |  |  |  |
|  | Are the floor cutouts for cable tray floor/wall requirements and floor inserts ok? |  |  |  |
|  | Ventilation position taken care? |  |  |  |
|  | Have the equipment mounting arrangements shown/supplied? |  |  |  |
|  | Are the cables/ bus duct entry points fouling with beams and columns? |  |  |  |
|  | Are the clearances, dimensions marked correctly? |  |  |  |
|  | Are the transformer foundation, channel orientation shown with dimension and centerline? |  |  |  |
|  | Are the cable tray elevation marked correctly? |  |  |  |
|  | Are pipe sleeves for lighting cables indicated / provided? |  |  |  |
|  | Are pipe sleeves for communication, signal and fire alarm cables indicated / provided? |  |  |  |
|  | Space requirement for VFD, battery, Battery charger, UPS, Soft Starter … Etc. room layout to be decided based on the project requirement |  |  |  |

Notes:

- This checklist is no way comprehensive. Based on specific project conditions/equipment some points as deemed necessary can be added / deleted. Addition / deletion of points, if any, needs to be taken up in consultation with Lead Engineer / Technical Specialist / Discipline Manager.

- If     is not filled against any item, please indicate N/A or else provide remarks.

- After release of the respective documents, the completed check list shall be retained by Discipline Engineer for future reference and for technical / quality audit.

- Check points shall be filled by job engineer and checked/approved by Lead/Tech. Specialist.

- The final approved Checklist shall be attached with the respective document if required.

| REV. | SIGN | DATE | SIGN | DATE | REMARKS |
| --- | --- | --- | --- | --- | --- |
|  | JOB ENGINEER |  | LEAD ENGINEER |  |  |